## Library Museums
Category | Clover Library | Fort Mill Library | Lake Wylie Library | Rock Hill Library | York Library | Museum of York County | Historic Brattonsville High Tower Hall | McCelvey Center | Historical Center
Smoke Detectors: | 28 | 6 | 18 | 65 | 29 | 19 | 9 | 4
Multi-criteria Detector | [8 empty] | 56
Duct Detectors: | 3 | 11 | 0 |  | 8 | 1 |  |  | 5
Beam Detectors: | 1
Heat Detectors: | 2 | 3 |  | 3 |  | 1 |  |  | 4
Manual Pull Stations: | 4 | 6 | 3 | 4 | 5 | 5 | 1 | 9 | 7
Waterflow Alarm Input: | [6 empty] | 1 | 1 | 2
Sprinkler/Tamper Supervisory Input: | [6 empty] | 8 |  | 3
Horn/Strobes: | 5 | 8 | 2 | 19 | 12 | 15 | 15 |  | 20
Strobe: | 3 | 2 | 6 | 20 | 6
Bells: | [7 empty] | 3
Control Panels (main/ remote): | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Remote Annunciator - LCD: | 1 | 1 | 1 |  |  |  | 1 |  | 1
Door Holders / Closures: | [5 empty] | 2
Note on B15: Fire-Lite MS-9050UD
Note on C15: Simplex 4020
Note on D15: Fire-Lite MS-9050UD
Note on F15: Simplex 4010
Note on G15: Fire-Lite ES-200X
Note on H15: Fire-Lite MS-9050UD
Note on I15: Kidde FX-10
Note on J15: Notifier NFS-320E

## York County Gov
Facility | Brand/Type System | Smoke Detector | Phot Smoke Detector | Duct Detector | Heat Detector | Manual Pull Station | Waterflow Alarm | Sprinkler/Tamper Supervisory Input: | Horn/Strobe | Strobe | Bells | Control Panels | Remote Annunciator - LCD: | Door Holder
Planning | FCI 7100-1D | 7 |  | 7 | 3 | 4 | 2 |  | 48 |  |  | 2
Legal | Silent Knight 5808 |  |  | 4 |  | 6 |  |  | 39 |  |  | 2
Public Works | Notifier NFW-50 | 1 |  | 1 | 19 | 2 | 1 | 3 | 7 | 6 |  | 1 | 7
Prison | Edwards EST 3 | 73 |  | 34 | 2 | 12 | 2 |  | 84 |  |  | 2
Heckle Complex
| Edwards 5753B |  |  | 6 | 2 | 12 |  |  | 5 |  |  | 1
| Edwards 5753B |  |  | 6 | 4 | 11 | [5 empty] | 1
| Edwards 5753B |  |  | 12 | 4 | 17 | [5 empty] | 1
Courthouse | Notifier NFS-320 | 16 |  | 3 | 3 | 2 |  |  | 104 |  |  | 1
Coroner | Silent Knight 5700 |  |  | 4 | 3 | 2 |  |  | 3 |  |  | 1 | 4
Fire Training Center | Fire Lite MS-9050-UD | 1 |  | 5 | [6 empty] | 1 | 1
Government Center | Siemans Desigo 250 | 19 |  | 32 | 4 | 1 | 7 | 7 | 50 | 25 | 1 | 1 |  | 2
Family Court | Simplex 4100ES | 50 |  | 19 | 12 | 19 | 6 | 14 | 43 | 20 | 1 | 1 | 1 | 1
Road Maintenance | Notifier NFW-50 | 2 |  | 1 | 1 | 2 | 1 | 3 | 2 | 2 |  | 1
Equipment Maintenance | Notifier NFW-50 | 7 |  | 3 | 4 | 7 | 1 | 2 | 18 | 9 |  | 1
Recycling Center | Camworks 3.50 | 1 |  | 1 |  | 9 | 3 |  | 32 |  |  | 1
Moss Justice Center
| Simplex 4100ES | 48 | 10 | 4 | 6 |  | 1 | 3 | 112 | 5 |  | 1
| Simplex 4100ES | 106 | 21 | 11 | 13 |  | 4 | 10 | 229 |  |  | 1
| Simplex 4100ES | 18 | 8 | 1 | 2 |  |  |  | 30 | 2 |  | 1
| Simplex 4100ES | 59 | 11 | 3 | 4 |  | 3 | 5 | 97 | 3 |  | 1
| Simplex 4100U | 414 |  | 124 | 20 | 75 |  |  | 57 | buildings | 3,4,5 &6 | 1
| Simplex 4100ES | [10 empty] | 1
| Simplex 4100U | [10 empty] | 1
| Simplex 4100U | [10 empty] | 1
| simplex 4007ES |  |  |  |  | 4 |  |  | 10 |  |  | 1
Animal Shelter | Simplex 4010 | 41 |  | 10 |  | 9 |  |  | 21 | 5 |  | 1
Sheriffs district office |  | 20 |  | 10 |  | 8 | [5 empty] | 1
911/EOC | Simplex 4010 | 10 |  | 14 |  | 4 |  |  | 8 | 4 |  | 1
DSS/Passport | Simplex 4010 | 2 |  | 22 | 2 | 3 |  |  | 2 |  |  | 1
Note on C1: Janicke, Trey: Smoke Detector
Note on D1: Janicke, Trey: Phot Smoke Detector
Note on E1: Janicke, Trey: Duct Smoke Detector
Note on F1: Janicke, Trey: Heat Detector
Note on G1: Janicke, Trey: Pull Station Single Action
Note on H1: Janicke, Trey: Water Flow Detector
Note on I1: Janicke, Trey: Temper Switch
Note on J1: Janicke, Trey: Audio/Visual
Note on K1: Janicke, Trey: Visual Only Signal
Note on M1: Janicke, Trey: Additional Alarm Panel
Note on N1: Janicke, Trey: Remote Annunicator Ceiling Light
Note on O1: Janicke, Trey: Door Holder